## Worksheet 1
Measurement range | Temperature: −20 to 70 ∘C Light: 0 to 320 000 lux
Accuracy | Temperature: ±0.53 ∘C Light intensity designed for measurement of relative light levels; see Fig. 2 for the light wavelength response
Resolution | Temperature: 0.14 at 25 ∘C
Time accuracy | ±1 min per month at 25 ∘C
Operating range | in air: −20 to 70 ∘C
Battery life | 1 year of typical use
Memory | 64 kB
Material | Polypropylene case; stainless steel screws; Buna-N O-ring
Weight | 18 g
Dimensions | 58 × 33 × 23 mm